Table 1. Landfill Leachate

| System | Leachate age/Method | HRT/ SRT | BOD/COD | pH/EC(mS/cm)/alkalinity(mg.L) |  | COD/ NH4+-N | CODrem / NH4+-Nrem | Microbial community | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Aerobic granular SBR (GSBR) | Fresh/ FISH | 0.5 d/ NR | 0.62 | -/-/20meq/L ~1000 mg/L |  | 0.9 g/L/ 0.3 g/L | 32-50%/ 66-70% | Betaproteobacterial AOB (16.6 ± 11.9%), Most Accumulibacter (3.3 ± 1.2%), Anammox (2.5 ± 0.9 %), cultured Tetrasphaera PAO (4.3 ± 2.1%), Comamonadaceae (5.6 ± 3.5%), Acidovorax (5.4 ± 3.6%), Curvibacter (4.8 ± 1.6%), Paracoccus (4.2 ± 2.9%), Zooglea not Z. resiniphila (4.1 ± 2.8%), Azoarcus (2.8 ± 0.6%), Thauera (2.4 ± 0.4%) | Mieczkowski et al. (2016) |
| Anoxic/multi-oxic stages full-scale treatment plant | Mixture of fresh and mature leachate/Ion torrent | 0.3 d/NR | 0.08-0.34 | 6.68-8.56/-/- |  | 5.16-25.78 g/L/ 41-2,330 mg/L | NR/ >80%, as TN | Azoarcus, Cellulosibacter, Clostridium, Comamonas, Nitrosococcus, Nitrosomonas, Nitrosospira, Paracoccus, Petrimonas, Pseudomonas, Proteiniborus, Syntrophomonas, Thauera, Tissierella | Díaz et al. (2019) |
| A/O MBR | Fresh to Intermediate /Illumina | 5 d/ infinite |  | 8.21/4-15/- |  | 0.90-1.60 g/L/ 300-800 mg/L | 39.9-56.8%/ 81.1-83.0% (as TN) | Bacteria: Candidate Saccharibacteria (50% at 50 & 100% v/v), while SR1, Sinobacteraceae, Truepera, Thauera, Limnobacter, Paracoccus, Phyllobacteriaceae, Nitrosomonas and Dokdonella accounted for 21% at 100% v/v) Fungi (Rozella clade): Cryptomycota (Rozellomycota)-based community (80%) at 100% v/v | Remmas et al. (2017c) |